Electric Motor Testing Analyst Certification (EMTA)

Electric Motor Testing Analyst Certification

Name: ____________________________________________________________

Background:  Electrical Motor Testing Analyst (EMTA) - Certification for a person to analyze energized and de-energized motor and motor circuit data. They will also be able to analyze electrical signature and current signature data, to determine motor failure mechanisms and driven equipment faults.

It is essential that anyone that is assigned to collect “Energized” or “De-Energized” motor data have a level of knowledge deemed necessary to properly operate the motor test instrumentation, with regards to utilizing software to build databases, select and initiate motor tests and store the acquired data correctly. They shall be able to determine “good” vs. “bad data,” access panels safely, and override interlocks as necessary to interface equipment for testing. They shall have the basic electrical knowledge necessary to determine motor winding configurations and starting circuit types. They should be able to determine Current Transformer CT and Potential Transformer PT ratios.

Prerequisites: If the Trainee for this Certification will be collecting test data, they shall also be Certified as an Electric Motor Test Technician Because of the numerous types of circuits and electrical cabinet configurations, you should be familiar with the equipment at your facility, that you will be interfacing and testing.

PLEASE NOTE:  This document is provided as a guideline in establishing an effective Motor Testing and Power Quality Certification Program.  It is inclusive of the recommended training, knowledge, practical factors, and experience deemed necessary for these Certifications.

It does not give specific guidelines for safety matters!

This document by no means represents all facets of safety or the ability to interface with electrical enclosures and interface equipment.  The number and varied designs of these devices make it near impossible to include all the variances in a single document.  It is incumbent upon the companies or individuals using this Certification document to learn the specifics for safety and the operation and interfacing of all of their equipment’s and test instruments. All plant-specific, local, state, and federal safety rules and regulations should be examined, understood and adhered to during any testing done.

*The Snell Group bears no liability or responsibility for or with respect to any safety or physical aspects of the operation of any equipment’s, interfacing or connections to any electrical circuits or damage or injury that may occur in the process of any procedure, operation, or maintenance action related to this Certification for any Power Quality or Motor testing related incidents. For the reasons stated above, there is no way to judge the individual’s safety practices that they follow, and it is the sole responsibility of the individuals and companies using these guidelines to assure accepted safety practices are always followed when doing motor testing. The Snell Group assumes no liability or responsibility, express or implied, when the individual conducts any testing.

Training and Knowledge Requirements: The Snell Group has a training curriculum specific to this Certification.  It is recommended that you complete Our training or that of another competent training provider that covers all the knowledge requirements.

| Practical Factors and Knowledge Requirements | Supervisor Signature |
| --- | --- |
| Tester OEM Software |  |
| Database Construction |  |
| Tester Operation |  |
| OSHA 1910 and NFPA 70E Trained* |  |
| Electrical Safety for Interfacing Motor Circuits – Connections* |  |
| Starting Circuit Configurations* |  |
| Wye Delta Start Configuration for De-Energized Testing* |  |
| Familiarity With Starter Interlocks* |  |
| Familiarity and Ability to Read Motor Circuit Schematics* |  |
| Medium and High Voltage Connection Interface* |  |
| Potential Transformer Configuration and Determining Ratios |  |
| Current Transformer Configurations and Determining Ratios |  |
| Installed Equipment Operation and Effects |  |
| Determining Good Data and Data Confirmation |  |
| DC Theory - Series Circuits |  |
| DC Theory - Parallel Circuits |  |
| AC Theory - Series Circuits |  |
| AC Theory - Parallel Circuits |  |
| Correlate Motor Circuit to Series or Parallel |  |
| AC Theory - RLC Circuits |  |
| Transformer Theory |  |
| Transformer Configurations |  |
| Transformer Turns Ratios |  |
| Transformer Losses |  |
| Operation and Use of Amp Probes / Current Transformers |  |
| Methods of Determining PT and CT Ratios |  |
| Understand Distribution Systems |  |
| Understand Grounding Systems and How They Can Affect Data |  |
| Understand Induction Motor Construction |  |
| Thorough Understanding of the Motor Rewind Process |  |
| Thorough Understanding of EASA Testing Process |  |
| Familiar with NEMA MG-1 |  |
| Understand all Motor Nameplate Data |  |

| Practical Factors and Knowledge Requirements | Supervisor Signature |
| --- | --- |
| Familiar with Required Non-Nameplate Data |  |
| Understand Basic AC Generator Theory |  |
| Left-Hand Rule for Generators |  |
| Understand Operation of a Simple AC Generator |  |
| Understand Frequency and Period and how to Calculate |  |
| Understand the Operation of a Rotating Armature Alternator |  |
| Understand the Operation of a Field Armature Alternator |  |
| Familiarity with the different types of Generator Rotors |  |
| Familiarity with 3-Phase Alternators |  |
| Understand the effects of Alternator Frequency |  |
| Fundamentals of a Squirrel Cage Induction Motor |  |
| Understand Pole Polarity and the Left-Hand Rule for Coils |  |
| Understand Mutual Inductance as it Relates to Field Poles |  |
| Understand the Development of the Stator Rotating Field |  |
| Understand How Rotating Field Speed Changes |  |
| Understand Synchronous Speed vs. Slip and RPM |  |
| Understand Stator Field and Rotor Magnetic Field Interaction |  |
| Be Familiar with Torque vs. Slip |  |
| Understand Motor Torque and Current Curves |  |
| Understand Motor Current Components |  |
| Power Factor changes with Motor Loading |  |
| Discuss NEMA Design and Motor Start Current and Torque |  |
| Effective Program Establishment |  |
| Motor Tracking |  |
| Analyzing Motor Circuit Resistance |  |
| Analyzing Motor Circuit Impedance |  |
| Analyzing Capacitance to Ground |  |
| Power Factor Capacitors Individual Load and Bulk Correction |  |
| Analyzing Circuit Impedance |  |
| Familiarity with Surge Testing Capabilities and Impulse Waves |  |
| Understanding Pulse to Pulse Error Area Ratio |  |
| Familiarity With IEEE 43- Insulation Testing |  |
| Insulation Test Procedures and Considerations |  |
| Factors Effecting Insulation Tests |  |
| Timed Resistance Tests |  |
| Polarization Index Testing |  |
| PI Profile Analysis |  |
| Step Voltage Testing |  |
| AC and DC High Potential Testing |  |
| Rotor Influence Testing |  |
| Resistance, Inductance, and Impedance – Fault Isolation |  |
| Current Frequency Response |  |
| Warehouse Spares and Acceptance Testing |  |
| Motor Testing Program Implementation |  |
| Determining Criticality and Periodicity for De-energized Testing |  |
| Practical Factors and Knowledge Requirements | Supervisor Signature |
| New Motor Acceptance and Baseline Testing |  |
| Power Quality Anomaly Familiarity |  |
| Types of Generated Power and their Unique Impacts |  |
| Power Generation and Distributions Systems |  |
| Power Transmission and Sub Stations |  |
| Understand Linear and Non-linear Loads |  |
| High-Frequency Unidirectional and Oscillatory Events |  |
| Voltage Fluctuation |  |
| Voltage Sags, Swells, and Transient Over Voltage |  |
| Unbalanced Voltage - Causes and Effects |  |
| Unbalanced Current - Causes and Effects |  |
| Power Factor – Real Power, Apparent Power |  |
| Reactive Current Unbalance and Effects |  |
| Harmonics – Sources and Effects |  |
| Frequency Deviation |  |
| Ground Anomalies and Effects |  |
| NEMA Voltage Unbalance Parameters and De-rating |  |
| NEMA Harmonic Voltage Factor and De-rating |  |
| Procedures for Effective Energized Testing |  |
| Power Quality Data Analysis |  |
| AC Voltage Analysis – RMS, Peak, Crest Factor |  |
| Using Voltage Neutral to Identify Grounds |  |
| Current Analysis |  |
| Use of Current and Impedance Values to Localize Faults |  |
| Sequence Currents and Effects |  |
| IEEE 519, IEEE 1159 |  |
| Understanding the Fast Fourier Transform FFT |  |
| Electrical and Current Signature Analysis |  |
| Purpose of FFT Windows |  |
| Linear and Logarithmic Spectral Displays |  |
| Analyzing In Rush Current and Various Starting Profiles |  |
| Understanding Various Types of Start Circuits and Analysis |  |
| In Rush and Load Current Correlation for Rotor Bar Anomalies |  |
| Correlating Start Peak and Transition Current to Isolate Faults |  |
| Use of Voltage and Current FFTs to Localize Faults |  |
| Determining Motor Speed Utilizing FFT |  |
| Calculating RPM and Frequency |  |
| Analyzing Rotor Anomalies |  |
| Calculating Field Pole Pass Frequency Sidebands - FPP |  |
| Determining Rotor Fault Severity |  |
| Eight ways to Identify Rotor Anomalies Using EMT |  |
| Understanding Eccentricity and Causes |  |
| Calculating and Identifying Static and Dynamic Eccentricity |  |
| Estimating Number of Rotor Bars |  |
| FFT Analysis for Unbalance and Misalignment |  |
| Practical Factors and Knowledge Requirements | Supervisor Signature |
| Identifying Rotor Axial Movement |  |
| Calculating for Faults on Belt Driven Equipment |  |
| Calculating Blade Pass Frequencies |  |
| Gear Mesh Frequency Calculations |  |
| Using Current FFTs to Identify Bearing Faults |  |
| Safety Considerations for Electric Motor Testing |  |

I attest that I have fully complied with the practical experience knowledge Requirements delineated in this Certification Document.

Typed or Printed Name: _______________________________________________

Signature: ____________________________________ Date: _________________

Supervisor Signature: ___________________________Date: ________________

To receive your Certificate:

Scan and submit this document to admin@thesnellgroup.com